Qi Video Training Library Index

Click on a Link to start a video

InitialScaleSetup

This module shows which parameters should be changed when the Qi is initially setup or after a Master Reset. Verify that your system is setup as follows.

LicChannel

Shows the procedure to follow when licensing one or more Channels.

SetupFlowmeter

Show how to configure a Flowmeter

FTP_IE

Shows how to copy the important Qi *DMT files out of the Qi onto your harddrive using Internet Explorer. This is an important backup procedure.

GlobalPAC

A few Global parameters to do with Short Feeds and placing limits on K1 and K2 algorithm parameters can optionally be enabled. The limits will prevent an upset calculating large unwanted constants be created.

ChannelSetup

This will step you through the process of configuring a Channel for the first time. Default Channel settings can be found in the document ChannelDef.doc

MaterialPathSetup

This will step you through the sequence of setting up a Material Path. In this example no Channels have been licensed yet. As a result only the Spill only algorithm can be selected. Two speed feeds are also not configured, see clip below for setting up a two speed feed

StartingFeeds

You will see where and how to Start a Feed and Monitor its progress. Important parameters are highlighted.