CODES D'ERREUR

(CW-11)

Lobat		Is indicated when batteries are weak. Approximately 20 min. of operating

time remain.

Error 1	Indicates an overload condition.

Error 2	Indicates an underload condition.

Error 7	EEPROM data incorrect.

Error 14	zero exceeds ZERO% and cannot be zeroed.

Err 21		Calibration data does not match current full scale, grad and cal point

settings. Settings must be restored or the indicator must be re-calibrated using the current settings.