Customer: ____________________________________________________	Address: _________________________________________________________

|  | # Device # 1 |  | # Device # 2 |  | Device # 3 Work Order #: ______________________ Certificate #: _______________________ Comments / Repairs / As Found Errors: ____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________ Date: _____________________________ Technician: ________________________ |  |
| --- | --- | --- | --- | --- | --- | --- |
| Receiving Inspection: | V  X  |  | V  X  |  | V  X  |  |
| Receiver’s Initial’s: |  |  |  |  |  |  |
| Date Received: |  |  |  |  |  |  |
| Tag # (if applicable): |  |  |  |  |  |  |
| Make: |  |  |  |  |  |  |
| M/N: |  |  |  |  |  |  |
| S/N: |  |  |  |  |  |  |
| Capacity: |  |  |  |  |  |  |
| Approval Number: |  |  |  |  |  |  |
|  | As Found | As Left | As Found | As Left | As Found | As Left |
| Visual Tests: |  |  |  |  |  |  |
| Serial Plate Information |  |  |  |  |  |  |
| Face Markings |  |  |  |  |  |  |
| Installation (solid, level) |  |  |  |  |  |  |
| Display Elements |  |  |  |  |  |  |
| Performance Tests: |  |  |  |  |  |  |
| Configuration |  |  |  |  |  |  |
| AZSM Zero Tracking |  |  |  |  |  |  |
| Load Discrimination ~ Near Zero |  |  |  |  |  |  |
| 4% Zeroing of Capacity |  |  |  |  |  |  |
| 20% of Capacity ~ Power Up |  |  |  |  |  |  |
| Increasing Test ~ Lower Half |  |  |  |  |  |  |
| Repeatability |  |  |  |  |  |  |
| Eccentricity |  |  |  |  |  |  |
| Increasing Test ~ Upper Half |  |  |  |  |  |  |
| Load Discrimination ~ Capacity |  |  |  |  |  |  |
| Blanking (105%) / Tare Blanking |  |  |  |  |  |  |
| Mathematical Concordance |  |  |  |  |  |  |
| Unit Conversion |  |  |  |  |  |  |
| Return to Zero |  |  |  |  |  |  |
| Motion Test |  |  |  |  |  |  |
| Seals Intact: | Yes  No  N/A  |  | Yes  No  N/A  |  | Yes  No  N/A  |  |
| Stickers: | Yes  No  |  | Yes  No  |  | Yes  No  |  |
| Certificate Issued: | Yes  No  |  | Yes  No  |  | Yes  No  |  |
| Reason for Service: |  Warning  Seizure  Installation  Adjustment  Other: |  |  Warning  Seizure  Installation  Adjustment  Other: |  |  Warning  Seizure  Installation  Adjustment  Other: |  |
| Is device ready for use in trade? | Yes  No  |  | Yes  No  |  | Yes  No  |  |