Customer: _______________________________________________	Work Order #: _____________________________

Address: ________________________________________________  	Certificate #: ______________________________

|  | # Device # 1 |  | # Device # 2 |  |
| --- | --- | --- | --- | --- |
| Receiving Inspection: | V  X  |  | V  X  |  |
| Receiver’s Initial’s: |  |  |  |  |
| Date Received: |  |  |  |  |
| Tag # (if applicable): |  |  |  |  |
| Make: |  |  |  |  |
| M/N: |  |  |  |  |
| S/N: |  |  |  |  |
| Capacity: |  |  |  |  |
| Approval Number: |  |  |  |  |
|  | As Found | As Left | As Found | As Left |
| Visual Tests: |  |  |  |  |
| Serial Plate Information |  |  |  |  |
| Face Markings |  |  |  |  |
| Installation (solid, level) |  |  |  |  |
| Display Elements |  |  |  |  |
| Performance Tests: |  |  |  |  |
| Configuration |  |  |  |  |
| AZSM Zero Tracking - .7 grad |  |  |  |  |
| Load Discrimination ~ Near Zero – 1.4 x grad |  |  |  |  |
| 4% Zeroing of Capacity |  |  |  |  |
| 20% of Capacity ~ Power Up |  |  |  |  |
| Increasing Test ~ Lower Half |  |  |  |  |
| Increasing Test ~ Upper Half |  |  |  |  |
| Repeatability – ½ max |  |  |  |  |
| Eccentricity |  |  |  |  |
| Load Discrimination ~ Capacity – 1.4 x grad |  |  |  |  |
| Blanking – 9 grads |  |  |  |  |
| Tare – proportional |  |  |  |  |
| Mathematical Concordance |  |  |  |  |
| Return to Zero |  |  |  |  |
| Motion Test |  |  |  |  |
| Off Zero Test |  |  |  |  |
| Free Floating Weight Signal |  |  |  |  |
| Manual Weight Entry |  |  |  |  |
| Price Computing |  |  |  |  |
| Copy of Tape | Yes  No  |  | Yes  No  |  |
| Seals Intact: | Yes  No  N/A  |  | Yes  No  N/A  |  |
| Stickers: | Yes  No  |  | Yes  No  |  |
| Certificate Issued: | Yes  No  |  | Yes  No  |  |
| Reason for Service: |  Warning  Seizure  Installation  Adjustment  Other: |  |  Warning  Seizure  Installation  Adjustment  Other: |  |
| Is device ready for use in trade? | Yes  No  |  | Yes  No  |  |

Comments / Repairs / As Found Errors:_____________________________________________________________________ _______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Technician: _____________________________  			Date: ________________________