# Print in Ink or type 				VEHICLE SCALE TEST REPORT

| Customer: | Service Ticket No: |  |
| --- | --- | --- |
| Address: | Customer Unit ID No. |  |
| City: | State/Prov: | Zip/Postal Code: |

|  | Make of Scale Platform |  |  |  | Model No: |  |  |  | Serial No: |  |  |  | Scale Capacity: |  |  |  |  |  |  |  | Graduation Size: |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Make of Indicator |  |  | Model No: |  |  |  |  | Serial No: |  |  |  | CLC: |  |  |  | Pounds |  |  |  |  | Kilograms |  |  |
|  | SECTION TESTING (Test 1) A shift test in which the test load is applied over individual sections of the scale. This test is conducted to disclose the weighing performance of the individual sections, since scale loads weighted are not always distributed evenly over all main load supports. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ### 1st LOAD |  | SECTION 1 | SECTION 2 |  |  |  | SECTION 3 |  |  | SECTION 4 |  | SECTION 5 |  |  | SECTION 6 |  |  | SECTION 7 |  |  |  |  | SECTION 8 |  |
| AS FOUND |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| AS SEALED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ### 2nd LOAD |  | SECTION 1 | SECTION 2 |  |  |  | SECTION 3 |  |  | SECTION 4 |  | SECTION 5 |  |  | SECTION 6 |  |  | SECTION 7 |  |  |  |  | SECTION 8 |  |
| AS FOUND |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| AS SEALED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | Scale House/Indicator (Reference to Platform) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | #### LOAD TESTING (Test 2) Normal basic performance test in which observations are made as increments of test load are successively added to the load receiving elements of the scale. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | TEST LOAD |  |  |  |  | AS FOUND SCALE INDICATION |  |  |  |  | Error |  |  | Allowable Tolerance |  | PASS/FAIL |  |  |  | AS LEFT SCALE INDICATION |  |  |  |  |
|  | 0 Load |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | MAX |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 0 Load |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

STRAIN-LOAD TEST (Test 3) The test of a scale beginning with the scale under load and applying known test weights to determine accuracy over a portion of the weighting range. The scale errors for a strain load test are the errors observed for the known test loads only.

|  | LEFT TO RIGHT |  |  | RIGHT TO LEFT |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | SECTION 1 | SECTION 2 | SECTION 3 | SECTION 4 | SECTION 5 | SECTION 6 |
| Weight of empty truck |  |  |  |  |  |  |
| Amount of test weights |  |  |  |  |  |  |
| Indication, truck & weights |  |  |  |  |  |  |
| Error on test weights only |  |  |  |  |  |  |

| Weight Identification Numbers: | Weights & Measures Certificate Number: |
| --- | --- |

| Calibration Date: | Next cal due: | Performed by: (With state registration number) |
| --- | --- | --- |