COMPREHENSIVE TEST REPORT

| Customer Name |  |  |  | SERVICE TICKET/ WORK ORDER # |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Unit location |  |  |  | Customer ID# |  |  |  |
| Mfg/Model # |  |  |  | Serial # |  |  |  |
| Capacity |  | kg lb | Number of divisions |  |  | Division Size |  |

The weighing equipment noted on this report has been tested and/or calibrated in compliance with Mettler Toledo procedure VP0023IR, and NIST Handbook 44 and/or Canada Standard where applicable.

SHIFT TEST	Weights applied:              Max. Permissible Error:

| As Found |  |  |  |  | As Left |  |  |  |  |  | In tolerance without adjustment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 |  | 3 |  |  | 2 |  | 3 |  |  |  |  |
| 1 |  | 4 |  |  | 1 |  | 4 |  |  |  | In tolerance after adjustment |
|  | J |  |  |  |  | J |  |  |  |  | Out of tolerance |

| Test Load | Weights applied | As found reading | Error: plus or minus (d) | Allowable error (d) | As left reading | Within Tolerance Y/N |
| --- | --- | --- | --- | --- | --- | --- |
| Zero |  |  |  |  |  | Y N |
|  |  |  |  |  |  | Y N |
|  |  |  |  |  |  | Y N |
|  |  |  |  |  |  | Y N |
| Max Load* |  |  |  |  |  | Y N |
|  |  |  |  |  |  | Y N |
|  |  |  |  |  |  | Y N |
|  |  |  |  |  |  | Y N |
| Zero |  |  |  |  |  | Y N |

* Maximum load used in test

In tolerance without adjustment

| REMARKS: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| WEIGHT IDENTIFICATION NUMBERS: |  |  |  |  |  |  |
| Weight Traceability Certificate #: |  |  |  | CUSTOMER CALIBRATION DATE: |  | CUSTOMER CALIBRATION DUE: |
| PERFORMED BY: |  |  |  |  |  |  |
|  | Technician Name (Please Print) |  |  |  | Technician Signature |  |
| Where Applicable: | Customer Name (Please Print) |  |  |  | Customer Signature |  |